2021 OSAGE “2144 BRAVE” TYPE III

2021 SPRINTER “3500”

STANDARD FEATURES

( MEMBER AMD / NTEA (

( CERTIFIED to KKK-1822-F & ALL REVISIONS (

( CERTIFIED CAAS GVS V2.0 (

## CHASSIS

(  2021 Sprinter 3500 Cab & Chassis

(  144” Wheelbase w/ Dual Rear Wheels

(  GVWR:  11,030 LBS

(  Front & Rear Stabilizer Bar

(  6-Cyl Turbo Direct Injection Diesel Engine

(  Mercedes Auxiliary Idler Control Unit

(  7-Speed Electronic Transmission w/ Overdrive

(  4 - Wheel Disc Brakes w/ ABS

(  3.92 Gear Ratio w/ Limited Slip

(  Stainless Steel Wheel Inserts

(  Rear Mud Flaps

(  Dual Air Bags

(  Mercedes Interior / Exterior Trim Package

(  Dual Map Lights

(  Tilt Steering Wheel & Cruise Control

(  Electric Windows & Door Locks

- Keyless Remote Entry

(  AM/FM/CD Stereo Clock Radio

(  Deluxe Cloth High Back Captains Chairs

(  Mercedes OEM Power & Heated Mirrors

(  Daytime Running Lights

## MODULE

(  Module Dimensions:

144” L x 89 ½” H x 86” W

(  Totally “Seamless” Body Construction

(  Exterior Side & Roof Panel .125” Aluminum

(  One-Piece Exterior Side Panels

(  One-Piece Crowned Roof

(  Frame Members 2” x 2” Aluminum Tubing

(  Frame Members on 12” Centers

(  Diamond Plate Shields:

* Across Lower Rear of Body

* Across Lower Front of Body

* Lower 1/3 of Entry Doors

(  All Exterior Doors “Pan-Formed” / Extruded

Double Break Construction

(  All Body Openings “Seamless”

(  All Door Latches Mounted Behind Gaskets

(  Exterior Compartment @ Front Left for

Storage of Oxygen Tank and Back Boards

(  Exterior #2 & #4 Compartments Available

(  Exterior Compartment Lighting

(  Cast “Grabber” Door Holders

(  Lower Body Impact Rub Rails

(  Polished Stainless Steel Fenderettes

(  Grip Strut Rear Step Bumper w/

4” x 18” Dock Bumpers

(  Automotive Undercoating

## WARNING SYSTEM

( Two Red Whelen ION-T LED’s Mounted in

Chrome Flanges in Grill

( Two Red Whelen ION-T LED’S Mounted in

Chrome Flanges in Front Fenders

(  Two Red Whelen 700 LED Front of Modular

(  Six Red LED Whelen 900 on Side and Rear

(  One Clear LED Whelen 700 Front Center

(  One Amber LED Whelen 900 Rear Center

(  Two Whelen 900 Scene Lights Per Side

(  Two Whelen 900 Rear Load Lights

(  Primary / Secondary Switching

(  Carson SA 400 Siren w/ Siren / Horn Switch

(  Cast Siren Speaker

(  Rear DOT Lighting Whelen LED 4x6 w/

Chrome Flanges: Red Tail / Brake,

Amber Arrow Turn, Reverse Lights

( LED Clearance / Marker Lights

## PAINT & MARKINGS

(  8” Single Belt Line Stripe

(  Base Coat / Clear Coat Modular Paint

(  “Fasten Seat Belt” & “No Smoking” Signs

(  Ambulance / Star-of-Life Decals

2021 Osage “2144 BRAVE” TYPE III - 2021 Sprinter “3500” - STANDARD FEATURES

## ELECTRICAL

(  Sprinter OEM 220-amp Alternator

(  Digital Voltmeter

- Audible Low-Voltage Alarm

(  Bosch, Vanner, Cole-Herse & Weldon

Components

(  Weldon V-Mux 100% Solid State

Microprocessor Base Multiplex System

(  Wiring Color-Coded and Heat Embossed

Every 6” w/ Function

(  Power Distribution Panel Easily Accessible

Via Hinged Access Door in Action Area

(  One-Piece Molded Front Switch Console

(  Hinge Mounted Attendant Switch Console

(  Control Console Backlighting Dimmer

(  Battery Switch Activated via OEM Ignition Switch

(  Open Door Warning Light

(  Three Light Silent Intercom

(  Handheld LED Spotlight, Hardwired

(  Whelen Dual Intensity LED Patient

Compartment Dome Lights

(  Exterior Weatherproof Shoreline Receptacle

(  Two Interior 110V Duplex Receptacles

(  Two Interior 12V Cigar Style Receptacles

(  One Pre-Wire Antenna Cable

(  Electrical Back-up Alarm w/ Auto Re-set

INTERIOR

(  66” Interior Headroom

(  46” Aisle Width

(  All Vertical Corners 1” Radii

(  Lon-Plate Non-Skid Vinyl Flooring

Rolled 3” Up Both Sides of Aisle

(  EMT Seat, Mounted on Seat Base Deluxe

Vinyl Captains Chair

(  Squad Bench w/ Second Patient Capability

( All Seat Cushions Seamless

(  Retractable Seat Belts for All Locations

(  Full Length Polished Overhead Grab Rail.

(  Handicap Style, 1 ½” Diameter, Full Length,

Stainless Steel Overhead Grab Rail. This

Rail shall be treated with Agion Anti-

Bacterial Coating.

(  Handicap Style, 1 ½” Diameter, Stainless

Steel Door Pulls on Patient Compartment

Doors. These Bars shall be treated with

Agion Anti-Bacterial Coating.

(  Hinged “Pocket” Door in Walk Through

(  Padded Bulkhead Cabinet Doors

(  ALS Compartment w/ In/Out Access

(  One Adjustable & One Fixed Shelf in ALS

(  R-29 Reflectics Insulation Throughout Module
(  Thermostatically Controlled Patient

Compartment Heat & Cool System

(  3-Speed Manual Fan Control

(  Rear Heat & Cool Unit Mounted Floor Level.

* Moisture Drains Directly Through Floor

* Short Coolant Circulation Distance

* Eliminates Vertical Circulation of Coolant

* Unit Easily Accessible for Maintenance

(  Overhead Air Distribution w/ Floor Level

Filtered Air Return for Optimum Circulation

(  Two Recessed, Swing-up Dual IV Hangers

( “Zico” Retaining Bracket for Oxygen “M” Cyl

(  Three “Ohio” Oxygen Outlets

(  SSCOR Suction System

(  Locking Sharps Container (Shipped Loose)

(  Locking Drug Compartment

(  Digital “Atomic” Clock w/ Seconds

(  Stryker “Performance Load” Cot Fastener

## WARRANTY

( Three Year / 36,000 Mile Product Conversion

( Five-Year / 100,000 Mile Modular Paint

( Seven Year / 72,000 Mile Electrical System

( Lifetime Modular Body Structure

“ALL WARRANTIES NON-PRORATED”

NOTE: See Warranty Certificate for Details

OSAGE AMBULANCE ( P.O. BOX 718 ( LINN, MO. 65051

800-822-3634 ( FAX: 573-897-3113

www.osageambulances.com